Call For Project Quotes

The City of WSS is calling for quotes to install safety surfacing meeting the ASTM F1292, 2075, and F1951 standards in the use/fall zones at Bair Park, which is located on 4th Ave SE, approximately where it intersects with Wall St.

The work generally includes but is not limited to:

* Installation of approximately 100 feet of French drain (washed gravel, perf pipe, and landscape fabric) 12 inches wide, 18 inches deep, with a minimum of 1% slope.
* Identify use/fall zones as per the U.S. Consumer Product Safety Commission’s Public Playground Safety (“CPSC Manual”) at (<https://www.cpsc.gov/s3fs-public/325.pdf>)
* Excavate use/fall zones for below-ground installation of EWF as per the CPSC Manual (<https://www.cpsc.gov/s3fs-public/325.pdf>) and the EWF manufacturer’s instructions.
* If needed, install borders for fall zones.
* Install EWF as per manufacturer instructions (available at City Hall and online). As needed, contact Marks Lumber at (406) 933-5794 for further information.
* Place pea gravel in areas in between fall zones.

A Notice of Request for Proposals and further important information is available at City Hall or online at whitesulphurspringsmontana.com. Contact City Hall or the Mayor for a site visit (406) 547-3911.

Quotes are due by 5:00 p.m. on August 15, 2022, at City Hall, 105 W. Hampton St - P.O. Box 442, White Sulphur Springs, MT 59645.